## TO_TP
| Disinfection |  | Filtration & Removal of Organics/ Inorganics | [7 empty] | Disinfection by-products |  |  |  |  | Non-health/Aesthetic Issues
Red= still deciding which category treatment process belongs in | Disinfection |  | Filtration & Removal of Organics/ Inorganics |  |  |  | Particulate removal | Organics removal | Inorganics removal | Radionuclides removal | DBPs |  | De- chlorination | Disinfection by-products control | Corrosion control | Softening (hardness removal) | Taste / odor control | Iron removal | Manganese removal | Other
| Dummy | Ranked (Level 1- x, where 1=basic; X= advanced) | Dummy | Ranked (Level 1- x, where 1=basic; X= advanced) | Nitrate (Level 1- x, where 1=basic; X= advanced) | Arsenic (Level 1- x, where 1=basic; X= advanced) |  |  |  |  | Dummy | Ranked (Level 1- x, where 1=basic; X= advanced)
| dis_dummy | dis_ranked | filtr_dummy | filtr_ranked | filtr_nitr | filtr_arsen |  |  |  |  | dbp_dummy | dbp_ranked
Pre-Filtration
Coagulation https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do?treatmentProcessId=1174340674 |  |  | 1 |  |  |  | X | X | X | X |  |  |  | X |  | X
Rapid Mix |  |  | 1 |  |  |  | X | X | X | X |  |  |  | X |  | X |  |  | X
Flocculation https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do?treatmentProcessId=1174340674 |  |  | 1 |  |  |  | X | X | X |  |  |  |  | X
Sedimentation |  |  | 1 |  |  |  | X | X | X | X |  |  |  | X |  |  |  | X
(Physical) Filtration
Filtration, Slow Sand https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do?treatmentProcessId=-1306063973 | X |  | 1 |  |  |  | X | [10 empty] | X
Filtration, Cartridge (Pressure Filtration) https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do?treatmentProcessId=548212009 |  |  | 1 |  |  |  | X | X | X | [8 empty] | X | X
Microscreening |  |  | 1 |  |  |  | X
Powdered Activated Carbon https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do?treatmentProcessId=2109700949 |  |  | 1 |  |  |  |  | X | [5 empty] | X |  |  | X
Granular Activated Carbon https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do?treatmentProcessId=2074826383 |  |  | 1 |  |  |  |  | X | X |  |  |  | X | X |  |  | X
Electrodialysis https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do?treatmentProcessId=-2103528007 |  |  | 1 | [5 empty] | X
Reverse Osmosis https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do?treatmentProcessId=-2103528007 |  |  | 1 |  |  |  |  | X | X | X |  |  |  | X |  | X |  | X | X
Filtration, Ultrafiltration |  |  | 1 |  |  |  | X |  | X
Filtration, Rapid Sand |  |  | 1 |  |  |  | X | X | X |  |  |  |  | X |  |  |  | X
Filtration, Diatomaceous Earth https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do?treatmentProcessId=1942020127 |  |  | 1 |  |  |  | X
Filtration, Pressure Sand https://www.tandfonline.com/doi/abs/10.1577/A04-004.1 |  |  | 1 |  |  |  | X |  | X | X |  |  |  | X |  | X | X | X
Filtered |  |  | 1 |  |  |  | X |  | X | [8 empty] | X | X | X
Sludge Treatment |  |  | 1 |  |  |  | X | [10 empty] | X
Distillation |  |  | 1 | [5 empty] | X
Corrosion Control
pH Adjustment |  |  | 1 |  |  |  | X |  | X | [5 empty] | X |  |  | X
pH Adjustment, Pre |  |  | 1 |  |  |  | X | X | X |  |  |  |  | X |  | X
pH Adjustment, Post |  |  | 1 | [5 empty] | X | [5 empty] | X |  |  |  |  | X
Sequestration |  |  | 1 | [5 empty] | X | [5 empty] | X |  |  | X | X
(Oxidizing) Filtration
Filtration, Greensand (Ion Exchange) https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do?treatmentProcessId=263654386 |  |  | 1 | [5 empty] | X | [8 empty] | X | X
Activated Alumina |  |  | 1 | [5 empty] | X
Aeration, Cascade https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do |  |  | 1 |  |  |  |  | X | X | [7 empty] | X | X
Aeration, Diffused https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do |  |  | 1 |  |  |  |  | X | [5 empty] | X | X |  | X | X
Aeration, Packed Tower https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do |  |  | 1 |  |  |  |  | X |  | X |  |  |  | X | X |  | X | X
Aeration, Slat Tray https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do |  |  | 1 |  |  |  |  | X | [8 empty] | X | X
Aeration, Spray https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do |  |  | 1 |  |  |  |  | X | [5 empty] | X |  |  | X | X
Reducing Agents |  |  | 1 |  |  |  |  | X | X |  |  |  | X
Innovative |  |  | 1 |  |  |  |  | X | X | X | [8 empty] | X | X
Chemical Addition
Permanganate https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do?treatmentProcessId=-1644188630 |  |  | 1 |  |  |  |  | X | [8 empty] | X | X | X
Lime - Soda Ash Addition |  |  | 1 | [5 empty] | X | [5 empty] | X | X
Peroxide |  |  | 1 |  |  |  |  | X
Disinfection
Chlorination (FRDS-1.5) https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do?treatmentProcessId=-1118142891 | X |  | 0
Ultraviolet Radiation | X |  | 0 | [10 empty] | X
Gaseous Chlorination, Pre | X |  | 1 |  |  |  |  | X | X | [7 empty] | X | X | X
Gaseous Chlorination, Post | X |  | 0
Chloramines https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do?treatmentProcessId=-30174904 | X |  | 0 | [10 empty] | X
Hypochlorination, Pre | X |  | 1 |  |  |  |  | X | X | [8 empty] | X | X
Hypochlorination, Post | X |  | 0 | [9 empty] | X
Ozonation, Pre | X |  | 1 |  |  |  |  | X | X |  |  |  |  | X |  |  | X | X | X
Ozonation, Post | X |  | 0 | [10 empty] | X
Chlorine Dioxide https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do?treatmentProcessId=-1277754943 | X |  | 0 | [10 empty] | X
3-Log Remove/Inactivate G Lamblia | X |  | 1 |  |  |  | X
2-Log Remove Crypto | X |  | 0
4-L:og Remove/Inactivate Crypto | X |  | 0
4-Log Remove/Inactivate Viruses | X |  | 0
4-Log Treatment of Viruses | X |  | 0
Algae Control |  |  | 1 |  |  |  |  | X | [5 empty] | X
Dechlorination??
Reducing Agent, Sodium Bisulfate |  |  | 1 | [5 empty] | X |  |  |  | X
Reducing Agent, Sodium Sulfite |  |  | 0 | [9 empty] | X
Reducing Agent, Sulfur Dioxide |  |  | 0 | [9 empty] | X
Corrosion control??
Converted (FRDS-1.5) |  |  | 0 | [11 empty] | X
Inhibitor, Bimetallic Phospate |  |  | 0 | [11 empty] | X
Inhibitor, Hexametaphosphate |  |  | 0 | [11 empty] | X
Inhibitor, Orthophosphate |  |  | 0 | [11 empty] | X
Inhibitor, Polyphosphate |  |  | 0 | [11 empty] | X
Inhibitor, Silicate |  |  | 0 | [11 empty] | X
Other
Fluoridation |  |  | 0 | [13 empty] | X |  | X | X

## TP_codes
|  | - Missing | 1 | 0
Pre-Filtration | Coagulation | Coagulation | 19 | 1.1
| Flocculation | Flocculation | 31 | 1.2
| Rapid Mix | Rapid Mix | 53 | 1.1
| Sedimentation | Sedimentation | 59 | 1.3
Filtration | Physical Filtration | Activated Carbon, Granular | 8 | 2.1
|  | Activated Carbon, Powdered | 9 | 2.1
|  | Distillation | 21 | 2.1
|  | Electrodialysis | 22 | 2.1
|  | Filtered | 23 | 2.1
|  | Filtration, Cartridge | 24 | 2.1
|  | Filtration, Diatomaceous Earth | 25 | 2.1
|  | Filtration, Pressure Sand | 27 | 2.1
|  | Filtration, Rapid Sand | 28 | 2.1
|  | Filtration, Slow Sand | 29 | 2.1
|  | Filtration, Ultrafiltration | 30 | 2.1
|  | Microscreening | 45 | 2.1
|  | Reverse Osmosis | 58 | 2.1
|  | Sludge Treatment | 61 | 2.1
| Oxidizing Filtration | Filtration, Greensand | 26 | 2.2
|  | Ion Exchange | 43 | 2.2
|  | Activated Alumina | 7 | 2.2
|  | Aeration, Cascade | 10 | 2.2
|  | Aeration, Slat Tray | 13 | 2.2
|  | Aeration, Spray | 14 | 2.2
|  | Aeration, Diffused | 11 | 2.2
|  | Aeration, Packed Tower | 12 | 2.2
Disinfection | Disinfection with Chlorine | Chlorination (FRDS-1.5) | 17 | 3.1
|  | Hypochlorination, Post | 35 | 3.1
|  | Hypochlorination, Pre | 36 | 3.1
| Dinfection with Chloramination | Chloramines | 16 | 3.2
| Disinfection with Chlorine Dioxide | 2-Log Remove Crypto | 2 | 3.3
|  | 3-Log Remove/Inactivate G Lamblia | 3 | 3.3
|  | 4-L:og Remove/Inactivate Crypto | 4 | 3.3
|  | 4-Log Remove/Inactivate Viruses | 5 | 3.3
|  | 4-Log Treatment of Viruses | 6 | 3.3
|  | Chlorine Dioxide | 18 | 3.3
|  | Gaseous Chlorination, Post | 33 | 3.3
|  | Gaseous Chlorination, Pre | 34 | 3.3
| Ozone Disinfection | Ozonation, Post | 46 | 3.4
|  | Ozonation, Pre | 47 | 3.4
|  | Algae Control | 15 | 3.4
| Disinfection with Reducing Agent | Reducing Agent, Sodium Bisulfate | 54 | 3.5
|  | Reducing Agent, Sodium Sulfite | 55 | 3.5
|  | Reducing Agent, Sulfur Dioxide | 56 | 3.5
| Ultraviolet Light Disinfection | Ultraviolet Radiation | 62 | 3.6
Corrosion Control | pH Adjustment | pH Adjustment | 50 | 4.1
|  | pH Adjustment, Post | 51 | 4.1
|  | pH Adjustment, Pre | 52 | 4.1
| Sequestration | Sequestration | 60 | 4.2
| Corrosion Inhibitors | Inhibitor, Bimetallic Phosphate | 37 | 4.3
|  | Inhibitor, Hexametaphosphate | 38 | 4.3
|  | Inhibitor, Orthophosphate | 39 | 4.3
|  | Inhibitor, Polyphosphate | 40 | 4.3
|  | Inhibitor, Silicate | 41 | 4.3
Chemical Addition | Chemical Addition | Lime - Soda Ash Addition | 44 | 5.1
|  | Permanganate | 48 | 5.1
|  | Peroxide | 49 | 5.1
Taste/ Non-health concerns | Innovative | Innovative | 42 | 6.1
| Reducing Agents | Reducing Agents | 57 | 6.2
| Fluoridation | Fluoridation | 32 | 6.3
Corrosion Control |  | Converted (FRDS-1.5) | 20 | 99

## TO_Codes
Recoding for TO categories
- | 1 | 0
Inorganics removal | 6 | 1
Organics removal | 9 | 1
Particulate removal | 11 | 1
Radionuclides removal | 12 | 1
Disinfection | 4 | 2
De-chlorination | 3 | 3
Disinfection by-products control | 5 | 3
Corrosion control | 2 | 4
Iron removal | 7 | 5
Manganese removal | 8 | 5
Other | 10 | 5
Softening (hardness removal) | 13 | 5
Taste / odor control | 14 | 5
0=Missing
1=Filtration
2=Disinfection
3=Disinfection by-products
4=Corrosion Control
5=Non-health/Aesthetic Issues

## DisInfection
|  |  | Filtration & Removal of Organics/ Inorganics | [7 empty] | DBPs |  |  |  |  | Non-health/Aesthetic Issues |  |  |  |  | Treatment Process
| Disinfection |  | Filtration & Removal of Organics/ Inorganics |  |  |  | Organics removal | Particulate removal | Inorganics removal | Radionuclides removal | DBPs |  | De- chlorination | Disinfection by-products control | Corrosion control | Softening (hardness removal) | Taste / odor control | Iron removal | Manganese removal | Other
| Dummy | Ranked (Level 1- x, where 1=basic; X= advanced) | Dummy | Ranked (Level 1- x, where 1=basic; X= advanced) | Nitrate (Level 1- x, where 1=basic; X= advanced) | Arsenic (Level 1- x, where 1=basic; X= advanced) |  |  |  |  | Dummy | Ranked (Level 1- x, where 1=basic; X= advanced)
pH Adjustment |  |  | 1 |  |  |  |  | X | X |  | 0 |  |  |  | X |  |  | X |  |  | 3 Corrosion Control
pH Adjustment, Post |  |  | 1 | [5 empty] | X |  | 0 |  |  |  | X |  |  |  |  | X | 3 Corrosion Control
Sequestration |  |  | 1 | [5 empty] | X |  | 0 |  |  |  | X |  |  | X | X |  | 3 Corrosion Control
Aeration, Packed Tower https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do |  |  | 1 |  |  |  | X |  |  | X | 1 |  |  | X | X |  | X | X |  |  | 4 (Oxidizing) Filtration
Aeration, Diffused https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do |  |  | 1 |  |  |  | X |  |  |  | 1 |  |  | X | X |  | X | X |  |  | 4 (Oxidizing) Filtration
Lime - Soda Ash Addition |  |  | 1 | [5 empty] | X |  | 0 |  |  |  | X | X |  |  |  |  | 5 Chemical Addition
Converted (FRDS-1.5) |  |  | 0 | [7 empty] | 0 |  |  |  | X | [5 empty] | 8 Corrosion control??
Inhibitor, Bimetallic Phospate |  |  | 0 | [7 empty] | 0 |  |  |  | X | [5 empty] | 8 Corrosion control??
Inhibitor, Hexametaphosphate |  |  | 0 | [7 empty] | 0 |  |  |  | X | [5 empty] | 8 Corrosion control??
Inhibitor, Orthophosphate |  |  | 0 | [7 empty] | 0 |  |  |  | X | [5 empty] | 8 Corrosion control??
Inhibitor, Polyphosphate |  |  | 0 | [7 empty] | 0 |  |  |  | X | [5 empty] | 8 Corrosion control??
Inhibitor, Silicate |  |  | 0 | [7 empty] | 0 |  |  |  | X | [5 empty] | 8 Corrosion control??
Coagulation https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do?treatmentProcessId=1174340674 |  |  | 1 |  |  |  | X | X | X | X | 1 |  |  | X |  | X |  |  |  |  | 1 Pre-Filtration
Rapid Mix |  |  | 1 |  |  |  | X | X | X | X | 1 |  |  | X |  | X |  |  | X |  | 1 Pre-Filtration
Sedimentation |  |  | 1 |  |  |  | X | X | X | X | 1 |  |  | X |  |  |  | X |  |  | 1 Pre-Filtration
Flocculation https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do?treatmentProcessId=1174340674 |  |  | 1 |  |  |  | X | X | X |  | 1 |  |  | X | [6 empty] | 1 Pre-Filtration
Filtration, Rapid Sand |  |  | 1 |  |  |  | X | X | X |  | 1 |  |  | X |  |  |  | X |  |  | 2 (Physical) Filtration
Filtration, Pressure Sand https://www.tandfonline.com/doi/abs/10.1577/A04-004.1 |  |  | 1 |  |  |  |  | X | X | X | 1 |  |  | X |  | X | X | X |  |  | 2 (Physical) Filtration
Reverse Osmosis https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do?treatmentProcessId=-2103528007 |  |  | 1 |  |  |  | X |  | X | X | 1 |  |  | X |  | X |  | X | X |  | 2 (Physical) Filtration
Granular Activated Carbon https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do?treatmentProcessId=2074826383 |  |  | 1 |  |  |  | X |  | X |  | 1 |  | X | X |  |  | X |  |  |  | 2 (Physical) Filtration
Powdered Activated Carbon https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do?treatmentProcessId=2109700949 |  |  | 1 |  |  |  | X |  |  |  | 1 |  |  | X |  |  | X |  |  |  | 2 (Physical) Filtration
Filtration, Cartridge (Pressure Filtration) https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do?treatmentProcessId=548212009 |  |  | 1 |  |  |  | X | X | X |  | 0 | [6 empty] | X | X |  | 2 (Physical) Filtration
Filtration, Ultrafiltration |  |  | 1 |  |  |  |  | X | X |  | 0 | [9 empty] | 2 (Physical) Filtration
Filtered |  |  | 1 |  |  |  |  | X | X |  | 0 | [6 empty] | X | X | X | 2 (Physical) Filtration
Filtration, Slow Sand https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do?treatmentProcessId=-1306063973 | X |  | 1 |  |  |  |  | X |  |  | 0 | [6 empty] | X |  |  | 2 (Physical) Filtration
Microscreening |  |  | 1 |  |  |  |  | X |  |  | 0 | [9 empty] | 2 (Physical) Filtration
Filtration, Diatomaceous Earth https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do?treatmentProcessId=1942020127 |  |  | 1 |  |  |  |  | X |  |  | 0 | [9 empty] | 2 (Physical) Filtration
Sludge Treatment |  |  | 1 |  |  |  |  | X |  |  | 0 | [6 empty] | X |  |  | 2 (Physical) Filtration
Electrodialysis https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do?treatmentProcessId=-2103528007 |  |  | 1 | [5 empty] | X |  | 0 | [9 empty] | 2 (Physical) Filtration
Distillation |  |  | 1 | [5 empty] | X |  | 0 | [9 empty] | 2 (Physical) Filtration
pH Adjustment, Pre |  |  | 1 |  |  |  | X | X | X |  | 1 |  |  | X |  | X |  |  |  |  | 3 Corrosion Control
Reducing Agents |  |  | 1 |  |  |  | X |  | X |  | 1 |  | X | [7 empty] | 4 (Oxidizing) Filtration
Aeration, Spray https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do |  |  | 1 |  |  |  | X |  |  |  | 1 |  |  | X |  |  | X | X |  |  | 4 (Oxidizing) Filtration
Innovative |  |  | 1 |  |  |  | X |  | X | X | 0 | [7 empty] | X | X | 4 (Oxidizing) Filtration
Aeration, Cascade https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do |  |  | 1 |  |  |  | X |  | X |  | 0 | [5 empty] | X | X |  |  | 4 (Oxidizing) Filtration
Aeration, Slat Tray https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do |  |  | 1 |  |  |  | X |  |  |  | 0 | [5 empty] | X | X |  |  | 4 (Oxidizing) Filtration
Filtration, Greensand (Ion Exchange) https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do?treatmentProcessId=263654386 |  |  | 1 | [5 empty] | X |  | 0 | [6 empty] | X | X |  | 4 (Oxidizing) Filtration
Activated Alumina |  |  | 1 | [5 empty] | X |  | 0 | [9 empty] | 4 (Oxidizing) Filtration
Permanganate https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do?treatmentProcessId=-1644188630 |  |  | 1 |  |  |  | X |  |  |  | 0 | [5 empty] | X | X | X |  | 5 Chemical Addition
Peroxide |  |  | 1 |  |  |  | X |  |  |  | 0 | [9 empty] | 5 Chemical Addition
Ozonation, Pre | X |  | 1 |  |  |  | X |  | X |  | 1 |  |  | X |  |  | X | X | X |  | 6 Disinfection
Algae Control |  |  | 1 |  |  |  | X |  |  |  | 1 |  |  | X | [6 empty] | 6 Disinfection
Ultraviolet Radiation | X |  | 0 | [7 empty] | 1 |  |  | X | [6 empty] | 6 Disinfection
Chloramines https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do?treatmentProcessId=-30174904 | X |  | 0 | [7 empty] | 1 |  |  | X | [6 empty] | 6 Disinfection
Hypochlorination, Post | X |  | 0 | [7 empty] | 1 |  | X | [7 empty] | 6 Disinfection
Ozonation, Post | X |  | 0 | [7 empty] | 1 |  |  | X | [6 empty] | 6 Disinfection
Chlorine Dioxide https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do?treatmentProcessId=-1277754943 | X |  | 0 | [7 empty] | 1 |  |  | X | [6 empty] | 6 Disinfection
3-Log Remove/Inactivate G Lamblia | X |  | 1 |  |  |  |  | X |  |  | 0 | [9 empty] | 6 Disinfection
Gaseous Chlorination, Pre | X |  | 1 |  |  |  | X |  | X |  | 0 | [5 empty] | X | X | X |  | 6 Disinfection
Hypochlorination, Pre | X |  | 1 |  |  |  | X |  | X |  | 0 | [6 empty] | X | X |  | 6 Disinfection
Chlorination (FRDS-1.5) https://iaspub.epa.gov/tdb/pages/treatment/treatmentOverview.do?treatmentProcessId=-1118142891 | X |  | 0 | [7 empty] | 0 | [9 empty] | 6 Disinfection
Gaseous Chlorination, Post | X |  | 0 | [7 empty] | 0 | [9 empty] | 6 Disinfection
2-Log Remove Crypto | X |  | 0 | [7 empty] | 0 | [9 empty] | 6 Disinfection
4-Log Remove/Inactivate Crypto | X |  | 0 | [7 empty] | 0 | [9 empty] | 6 Disinfection
4-Log Remove/Inactivate Viruses | X |  | 0 | [7 empty] | 0 | [9 empty] | 6 Disinfection
4-Log Treatment of Viruses | X |  | 0 | [7 empty] | 0 | [9 empty] | 6 Disinfection
Reducing Agent, Sodium Bisulfate |  |  | 1 | [5 empty] | X |  | 1 |  | X | [7 empty] | 7 Dechlorination??
Reducing Agent, Sodium Sulfite |  |  | 0 | [7 empty] | 1 |  | X | [7 empty] | 7 Dechlorination??
Reducing Agent, Sulfur Dioxide |  |  | 0 | [7 empty] | 1 |  | X | [7 empty] | 7 Dechlorination??
Fluoridation |  |  | 0 | [7 empty] | 0 | [5 empty] | X |  | X | X | 9 Other
| dis_dummy | dis_ranked | filtr_dummy | filtr_ranked | filtr_nitr | filtr_arsen |  |  |  |  | dbp_dummy | dbp_ranked
Pre-Filtration
(Physical) Filtration
Corrosion Control
(Oxidizing) Filtration
Chemical Addition
Disinfection
Dechlorination??
Corrosion control??
Other